## NOISE
Steps for calculating Allan Variance from phase noise.
ALLAN VARIANCE FROM PHASE NOISE
STEP 1:
Enter data in yellow cells. | [12 empty] | 2e-17 | (converts L(f) dB into spectral density numeric - "undoes log and doubles")
[13 empty] | 2e-15 | Data comes from yellow boxes to left.
2e-14
2e-13
2e-12
STEP2:
[13 empty] | 8e-31 | Divides spectral density by the carrier freq. squared
[13 empty] | 8e-29 | giving S(y) / f^2 which is S(y) at f=1 Hz.
8e-28
8e-27
| Oscillator | [11 empty] | 8e-26
| Frequency | [11 empty] | STEP3: | Variance
| 5e6 | [11 empty] | 6.3559e-22 | This is the sum of the 5 integrals.
[13 empty] | 6.5481e-24 | Ref: David W. Allen, "Time and Frequency (Time-Domain) Characterization, Estimation, and Prediction of Precision Clocks and Oscillators"
Set the 1 Hz intercepts to achieve the deisred noise plot. | [12 empty] | 1.3405e-25 | in IEEE Transactions on Ultrasonics, Ferroelectrics, and Frequency Control, Vol. UFFC-34, No. 6 November 1987
| L(f) dBc | [11 empty] | 5.3857e-25
Floor | -170 | 1e-17 | [10 empty] | 5.2751e-24
f-1 term | -150 | 1e-15 | [10 empty] | 5.2651e-23
f-2 term | -140 | 1e-14 | [10 empty] | 5.2641e-22
f-3 term | -130 | 1e-13 | [10 empty] | STEP4: | Sqrt Variance
f-4 term | -120 | 1e-12 | [11 empty] | See answer to left and plot.
To eliminate a noise term enter -200. |  |  |  | Offset | 0.001 | 0.01 | 0.1 | 1 | 10 | 100 | 1000 | 10000
|  |  |  | L(f) | 0.00043432 | -39.9957 | -79.9564 | -119.5428 | -153.8722 | -166.7551 | -169.5821 | -169.9567
Allan Variance Calculation.
|  | High Freq. limit (Hz) | 10000
|  | Sample time | 0.001 | 0.01 | 0.1 | 1 | 10 | 100 | 1000
|  | Sqroot Variance | 2.5211e-11 | 2.5589e-12 | 3.6613e-13 | 7.3387e-13 | 2.2968e-12 | 7.2561e-12 | 2.2944e-11
|  | Low Freq. Limit (Hz) | 10
|  | Total RMS Jitter | 4.6558e-07 | radians
|  |  | 2.6676e-05 | degrees
|  |  | 1.482e-14 | seconds
Phase noise numbers may not be available for frequencies below 1 or 10 Hz and an "educated guess" may be necessary. It is common for oscillators to exhibit noise in excess of f--3 below 10 Hz and the longer sample times will be significantly effected. Premium oscillators will exhibit little "random walk" and the noise rolls up at only f--3 (or slower) well below 10 Hz.
You may wish to fix the minimum and maximum Y-axis value when changing phase noise numbers. Double-click on the chart then right click on the vertical axis to edit the axis. Set typical minimum and maximum values so that the chart does not rescale every time the noise numbers are changed.
Total RMS Jitter is calculated by integrating the noise from this low freq. limit to the high frequency limit above. The calculation adds three dB to the L(f) numbers. The seconds of jitter is calculated by dividing the radian jitter by the oscillator frequency and 2 pi.